## Contents
Electricity market modelling results summary
Published 18th June 2021
Notes:
This workbook presents a summary of results from electricity market modelling of electrification scenarios. The results were obtained used Energy Link's E-Market and I-Gen models. The purpose of the modelling was to complement our main modelling tool ENZ.
This was an insight gaining exercise. There are limitations to this modelling piece and inherent uncertainties. Care should be taken in interpretation of the modelled results, particularly regarding long term prices.
This modelling was undertaken in April 2021 and reflects the low hydro storage that existed at this time. The 2021 generation and prices shown are for the period of 1 April to 31 December.
A tight gas supply is represented in the model by constraining the output of the TCC gas generation plant and making the 3rd Rankine unit at Huntly available. This condition is imposed until the end of 2021. Gas prices have not been adjusted to reflect short term market dynamics.
All prices are in real 2021 NZ dollars.
The electricity demand profile from the 'Central Pathway' in the Commission's 2021 Draft Advice for Consultation is used as the input for this modelling piece. Demand growth in the Demonstration path in the Commission's 2021 Final Advice is around 1.5 years behind this by 2035. This difference is deemed small in the context of the wholesale price projection that this modelling has been used for and the name 'Demonstration path' is applied to the results here.
Inputs/assumptions
Cost assumptions | The carbon and gas prices used in the modelling
Demand inputs | Electricity demand growth
Generation stack | Detail of the cost and capacity of potential generation projects
Scenario name | Description
Demonstration path | The Demonstration path underpins the Commission's recommended emissions budgets
Sensitivity 1. Rising gas price | Gradual increase in wholesale gas price to reflect incremental investment in upstream supply
Sensitivity 2. Tiwai stays | The Tiwai Point aluminium smelter continues to operate beyond 2024
Other information:
The methodology underpinning this modelling work is based on the approach undertaken by the Interim Climate Change Committee as part of the Electricity Enquiry. This modelling approach has been documented in detail here: https://www.iccc.mfe.govt.nz/assets/PDF_Library/83b8fe3407/FINAL-Energy-Link-ICCC-modelling.pdf

## Version history
Version no. | Release date | Summary of change
1 | 2021-06-18 | Initial version
1.1 | 2022-02-10 | Correction to average annual generation by project reporting in result sheets

## Costs
Cost assumptions
| Emissions price ($/TCO2) | Gas price ($/GJ) - excludes cost of carbon
|  | Gas price 1 | Gas price 2
2020 | 30 | 9 | 9
2021 | 40.8419 | 9 | 9.2
2022 | 51.6838 | 9 | 9.4
2023 | 62.5257 | 9 | 9.6
2024 | 73.3676 | 9 | 9.8
2025 | 84.2095 | 9 | 10
2026 | 95.0514 | 9 | 10.2
2027 | 105.8933 | 9 | 10.4
2028 | 116.7352 | 9 | 10.6
2029 | 127.577 | 9 | 10.8
2030 | 138.4189 | 9 | 11
2031 | 142.5715 | 9 | 11
2032 | 146.8487 | 9 | 11
2033 | 151.2541 | 9 | 11
2034 | 155.7917 | 9 | 11
2035 | 160.4655 | 9 | 11
The emissions price path is applied for the Demonstration path and sensitivities
Gas price 1 is applied for the Demonstration path and Sensitivity 2. Tiwai stays
Gas price 2 is applied for Sensitivity 1. Rising gas price

## Demand
Notes:
1. The Demonstration path demand profile that has been modelled corresponds to the Central Pathway in the CCC's draft advice. Demand growth in the Demonstration path in the final advice is around 1.5 years behind this by 2035 (total demand is within 4% in 2035). This difference is deemed small in the context of the wholesale price projection that this modelling has been used for.
Demand profile 1 | [5 empty] | Demand profile 2
used for: Demonstration path, and Sensitivity 1. Rising gas price | [5 empty] | used for Sensitivity 2. Tiwai Stays
Year | Base year demand (GWh) | Tiwai (GWh) | EVs (GWh) | Other (GWh) | Total demand (GWh) | Year | Base year demand (GWh) | Tiwai (GWh) | EVs (GWh) | Other (GWh) | Total demand (GWh)
2019 | 39953 | 0 | 0 | 0 | 39953 | 2019 | 39953 | 0 | 0 | 0 | 39953
2020 |  | -253.8888 | 11.2195 | -139.7007 | 39570.63 | 2020 |  | -253.8888 | 11.2195 | -139.7007 | 39570.63
2021 |  | -253.8888 | 33.4526 | 19.5813 | 39752.145 | 2021 |  | -253.8888 | 33.4526 | 19.5813 | 39752.145
2022 |  | -253.8888 | 58.6114 | 240.6306 | 39998.3532 | 2022 |  | -253.8888 | 58.6114 | 240.6306 | 39998.3532
2023 |  | -253.8888 | 90.4206 | 509.7445 | 40299.2763 | 2023 |  | -253.8888 | 90.4206 | 509.7445 | 40299.2763
2024 |  | -253.8888 | 149.3182 | 834.3858 | 40682.8152 | 2024 |  | -253.8888 | 149.3182 | 834.3858 | 40682.8152
2025 |  | -5247.0888 | 245.5634 | 1203.0417 | 36154.5163 | 2025 |  | -253.8888 | 245.5634 | 1203.0417 | 41147.7163
2026 |  | -5247.0888 | 394.0282 | 1692.5455 | 36792.4849 | 2026 |  | -253.8888 | 394.0282 | 1692.5455 | 41785.6849
2027 |  | -5247.0888 | 598.934 | 2223.1097 | 37527.9549 | 2027 |  | -253.8888 | 598.934 | 2223.1097 | 42521.1549
2028 |  | -5247.0888 | 886.3926 | 2723.9072 | 38316.211 | 2028 |  | -253.8888 | 886.3926 | 2723.9072 | 43309.411
2029 |  | -5247.0888 | 1340.7755 | 3286.4696 | 39333.1562 | 2029 |  | -253.8888 | 1340.7755 | 3286.4696 | 44326.3562
2030 |  | -5247.0888 | 1919.8812 | 3862.6318 | 40488.4242 | 2030 |  | -253.8888 | 1919.8812 | 3862.6318 | 45481.6242
2031 |  | -5247.0888 | 2588.6913 | 4366.8485 | 41661.451 | 2031 |  | -253.8888 | 2588.6913 | 4366.8485 | 46654.651
2032 |  | -5247.0888 | 3349.3253 | 4854.5148 | 42909.7513 | 2032 |  | -253.8888 | 3349.3253 | 4854.5148 | 47902.9513
2033 |  | -5247.0888 | 4147.7635 | 5327.4126 | 44181.0873 | 2033 |  | -253.8888 | 4147.7635 | 5327.4126 | 49174.2873
2034 |  | -5247.0888 | 4970.7763 | 5914.5361 | 45591.2236 | 2034 |  | -253.8888 | 4970.7763 | 5914.5361 | 50584.4236
2035 |  | -5247.0888 | 5769.0652 | 6546.2637 | 47021.24 | 2035 |  | -253.8888 | 5769.0652 | 6546.2637 | 52014.44

## Generation stack
Notes:
1. Project detail and costs are based on the 2020 Generation Stack Update reports which were commissioned by the Ministry of Business Innovation and Employment.
2. Some costs have been adjusted based on public reports and market analysis.
3. The generation stack has been extended with a number of contrived projects.
4. Projects are costed based on a return of investment of 5.88% (real and after tax).
5. Wind and utility solar cost reduction assumptions are based on consideration of multiple global outlooks.
Summary
| Wind | Utility solar | Geothermal | Hydro | Gas peaker
Number of projects | 47 | 11 | 15 | 12 | 6
Potential total installed capacity (GW) | 5.61 | 1.73 | 1.19 | 0.65 | 0.86
Minimum 2021 LCOE ($/MWh) | 61.25 | 85.72 | 68.12 | 105.68 | 268.59
Maximum 2021 LCOE ($/MWh) | 83.77 | 121.12 | 123.58 | 122.95 | 294.63
Rate of CAPEX reduction | 0.8% p.a to 2035 | 3.0% p.a to 2035 | NA | NA | NA
Project detail
Project Name | Type | Size (MW) | Average annual generation (GWh)
Awhitu_Wind_Farm | Wind | 18 | 59.9184
Kaiwera_Downs_Stage_1 | Wind | 36 | 126.144
Kaiwera_Downs_Stage_2 | Wind | 84 | 294.336
Kaiwera_Downs_Stage_3 | Wind | 120 | 420.48
Mahinerangi_WindFarm_Stage_2 | Wind | 160 | 507.3792
Wairau_River_Scheme | Hydro | 70.5 | 347.6975
Waipipi | Wind | 130 | 483.99
Omamari_Wind | Wind | 72 | 245.9808
Central_Wind_Moawhango | Wind | 120 | 414.1728
Hurunui_Wind | Wind | 71.3 | 251.0844
Harapaki_Wind | Wind | 176 | 636.7469
Mohaka_River | Hydro | 44 | 211.992
Mt_Munro | Wind | 60 | 215.496
North_Bank_Tunnel_Waitaki | Hydro | 260 | 1423.5
Pouto_Stage1 | Wind | 100 | 359.16
Pouto_Stage2 | Wind | 100 | 359.16
Pouto_Stage3 | Wind | 100 | 359.16
Pukaki_Hydro | Hydro | 35 | 174.762
Kawerau_Stage_2 | Geothermal | 100 | 805.92
Kawerau_Stage_3 | Geothermal | 100 | 805.92
Long_Gully_Wind_farm | Wind | 12.5 | 47.961
Ngatamariki_Stage2 | Geothermal | 30 | 241.776
Puketoi_Stage_1 | Wind | 60 | 220.752
Puketoi_Stage_2 | Wind | 130 | 478.296
Puketoi_Stage_3 | Wind | 130 | 478.296
Turitea_Stage_1 | Wind | 119 | 448.2492
Turitea_Stage_2 | Wind | 103 | 387.9804
Waipa_River | Hydro | 7 | 33.726
Castle_Hill_Stage_1 | Wind | 54 | 187.7969
Castle_Hill_Stage_2 | Wind | 100 | 347.772
Castle_Hill_Stage_3 | Wind | 100 | 347.772
Castle_Hill_Stage_4 | Wind | 200 | 695.544
Huntly_Peaker | Geothermal | 200 | 175.2
Slopedown_Wind_farm | Wind | 100 | 353.904
Hawea_Gates | Hydro | 17 | 81.906
Luggate_Clutha | Hydro | 86 | 499.4777
Tauhara_Stage_2 | Geothermal | 150 | 1274.58
Tauhara_Stage_2a | Geothermal | 80 | 679.776
Waitahora_Wind | Wind | 177 | 615.5564
Hauauru_ma_raki_Wind_Stage_1 | Wind | 154 | 532.8708
Kaimai_Wind_Farm | Wind | 100 | 354.78
Lake_Coleridge | Hydro | 70 | 337.26
Matiri | Hydro | 4.6 | 22.1628
Mokai_Expansion | Geothermal | 112 | 902.6304
Mt_Cass_Wind_Farm | Wind | 93 | 327.5014
Ngawha_Expansion2 | Geothermal | 25 | 201.48
Ngawha_Expansion3 | Geothermal | 25 | 201.48
Rangitata_Diverson_canal_RDR | Hydro | 6 | 28.908
Rotoma | Geothermal | 35 | 282.072
Stockton_Plateau | Hydro | 25 | 120.45
Taharoa_C | Wind | 54 | 186.8508
Taumatatotara | Wind | 44 | 146.4672
Te_Rere_Hau_Stage_5 | Wind | 28 | 83.3952
Tikitere | Geothermal | 45 | 362.664
Wainui_Hills_Wind_Farm | Wind | 30 | 107.748
Wairakei_Binary_Plant | Geothermal | 60 | 483.552
Waitaha_River | Hydro | 20 | 96.36
Ahipara_Wind_Farm | Wind | 100 | 341.64
Otorohanga_Peaker_Stage1 | Geothermal | 120 | 105.12
Otorohanga_Peaker_Stage2 | Geothermal | 120 | 105.12
Otorohanga_Peaker_Stage3 | Geothermal | 120 | 105.12
RefiningNZ_Solar | Solar | 26 | 38.7192
Genesis_Solar | Solar | 300 | 591.3
ReservePeaker1 | Geothermal | 150 | 131.4
ReservePeaker2 | Geothermal | 150 | 131.4
Wind_Project_NI_1 | Wind | 200 | 708.684
Wind_Project_NI_2 | Wind | 200 | 692.04
Wind_Project_NI_3 | Wind | 125 | 454.425
Wind_Project_NI_4 | Wind | 200 | 708.684
Wind_Project_NI_5 | Wind | 200 | 692.04
Wind_Project_NI_6 | Wind | 200 | 695.544
Wind_Project_NI_7 | Wind | 200 | 665.76
Wind_Project_NI_8 | Wind | 125 | 443.475
Wind_Project_SI_1 | Wind | 200 | 707.808
Wind_Project_SI_2 | Wind | 200 | 704.304
Wind_Project_SI_3 | Wind | 125 | 416.1
Wind_Project_SI_4 | Wind | 200 | 648.24
GeoProject_1 | Geothermal | 50 | 402.96
GeoProject_2 | Geothermal | 100 | 805.92
GeoProject_3 | Geothermal | 100 | 805.92
GeoProject_4 | Geothermal | 100 | 805.92
Solar_Project_NI_1 | Solar | 200 | 402.96
Solar_Project_NI_2 | Solar | 200 | 394.2
Solar_Project_NI_3 | Solar | 150 | 289.08
Solar_Project_NI_4 | Solar | 150 | 302.22
Solar_Project_NI_5 | Solar | 100 | 192.72
Solar_Project_NI_6 | Solar | 100 | 183.96
Solar_Project_SI_1 | Solar | 200 | 367.92
Solar_Project_SI_2 | Solar | 100 | 183.96
Solar_Project_SI_3 | Solar | 200 | 359.16
Wind_Project_NI_9 | Wind | 200 | 700.8
Waipipi | Wind | 130 | 444.132
Turitea_Wind | Wind | 222 | 750.4809
Ngawha_Expansion2 | Geothermal | 25 | 201.48
Mt_Cass | Wind | 92 | 314.3088

## Demonstration path
Name: | Demonstration path
Results file: | IGEN_Model_3.9_CCC_Scenario3_Step6a_3h_All_0925
Notes:
1. The 2021 model year is for the period of 1 April to 31 December
2. All prices are in real 2021 NZDs and are the time-weighted-average market price
3. Prices are given at the Haywards grid exit point
4. Emissions and generation values are given as the average (mean) across simulated hydrological years
5. Prices are given at percentile levels - this reflects the modelled variation in prices due to varying hydro inflows. For example, the 95th percentile line corresponds to the price that is exceeded in only 5% of model years
Generation and emissions
| Generation by type (GWh) | [9 empty] | Renewable % |  | Installed capacity (MW) | [9 empty] | Generation emissions (kt CO2e) | [5 empty] | Emission intensity of generation (gCO2/kWh)
year | Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Excl cogen | Incl cogen | Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Geothermal | Coal | Diesel | Gas | Cogen | Total | Total (incl cogen)
2021 | 25.8668 | 0 | 6082.7202 | 16857.3112 | 2369.3505 | 1281.148 | 0.44716 | 3841.5723 | 922.1313 | 31380.5475 | 83.18% | 80.74% | 14.7642 | 0 | 1019 | 5153.3 | 942 | 730 | 155 | 1223 | 261 | 9498.0642 | 607.454 | 1101.6408 | 0.33915 | 1532.8939 | 653.2689 | 3895.5968 | 124.1405
2022 | 77.5861 | 0 | 7943.8824 | 24073.725 | 3407.2107 | 470.7624 | 0.49013 | 4196.1358 | 1222.3328 | 41392.1253 | 88.38% | 85.77% | 44.2843 | 0 | 1019 | 5153.3 | 1034 | 485 | 155 | 1223 | 261 | 9374.5843 | 785.463 | 404.8018 | 0.37174 | 1678.5879 | 870.3642 | 3739.5886 | 90.3454
2023 | 135.9919 | 0 | 8664.8527 | 23994.825 | 3565.6998 | 403.3799 | 0.66103 | 3698.8224 | 1222.2457 | 41686.4784 | 89.86% | 87.23% | 77.621 | 0 | 1169 | 5153.3 | 1210 | 485 | 155 | 1223 | 261 | 9733.921 | 825.9608 | 346.8606 | 0.50135 | 1486.8272 | 870.3046 | 3530.4546 | 84.6906
2024 | 200.2462 | 0 | 9292.4343 | 24680.7331 | 3954.6467 | 146.9412 | 1.1252 | 2704.8449 | 1224.8857 | 42205.8573 | 93.04% | 90.34% | 114.2958 | 0 | 1169 | 5153.3 | 1210 | 485 | 155 | 843 | 261 | 9390.5958 | 857.5938 | 126.3526 | 0.85342 | 1071.9092 | 872.1357 | 2928.8447 | 69.3943
2025 | 273.9625 | 0 | 9259.8527 | 23358.0475 | 3421.5624 | 0 | 2.1639 | 557.4574 | 1221.7178 | 38094.7643 | 98.48% | 95.32% | 156.3713 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 8947.6713 | 853.6566 | 0 | 1.6412 | 222.7651 | 869.904 | 1947.9669 | 51.1348
2026 | 354.9656 | 0 | 9260.0561 | 23503.9487 | 3624.7604 | 0 | 2.2068 | 779.7992 | 1222.2658 | 38748.0027 | 97.92% | 94.83% | 202.6059 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 8993.9059 | 853.6893 | 0 | 1.6738 | 311.1978 | 870.3505 | 2036.9114 | 52.5682
2027 | 442.5585 | 0 | 9259.8961 | 23638.6656 | 3820.2576 | 0 | 2.2178 | 1106.0505 | 1222.201 | 39491.8471 | 97.1% | 94.1% | 252.6019 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 9043.9019 | 853.6576 | 0 | 1.6821 | 442.3578 | 870.2676 | 2167.9651 | 54.8965
2028 | 538.6615 | 0 | 9285.2814 | 23955.3397 | 3964.515 | 0 | 2.624 | 1453.5941 | 1225.8456 | 40425.8612 | 96.29% | 93.37% | 307.4552 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 9098.7552 | 855.9963 | 0 | 1.9902 | 583.9868 | 872.8967 | 2314.87 | 57.2621
2029 | 634.4601 | 43.6126 | 9261.1285 | 23940.5239 | 4553.2464 | 0 | 3.5916 | 1639.4669 | 1221.9951 | 41298.0252 | 95.9% | 93.06% | 362.1348 | 200 | 1169 | 5153.3 | 1470 | 0 | 155 | 843 | 261 | 9613.4348 | 854.059 | 0 | 2.724 | 661.0495 | 870.0768 | 2387.9092 | 57.8214
2030 | 736.3716 | 366.3984 | 9266.3604 | 23866.3548 | 5403.4266 | 0 | 3.5732 | 1509.7129 | 1221.4416 | 42373.6395 | 96.32% | 93.55% | 420.3034 | 200 | 1169 | 5153.3 | 1772 | 0 | 155 | 843 | 261 | 9973.6034 | 855.1833 | 0 | 2.7101 | 607.7361 | 869.6707 | 2335.3003 | 55.1121
2031 | 843.4165 | 595.5653 | 9260.5278 | 23869.7962 | 6260.098 | 0 | 4.9703 | 1476.4797 | 1221.7334 | 43532.5871 | 96.5% | 93.79% | 481.4021 | 400 | 1169 | 5153.3 | 2002 | 0 | 155 | 843 | 261 | 10464.7021 | 853.7551 | 0 | 3.7697 | 594.4991 | 869.9225 | 2321.9463 | 53.3381
2032 | 961.0134 | 739.7903 | 9512.2329 | 23889.2464 | 7083.4266 | 0 | 7.3467 | 1468.7903 | 1225.6664 | 44887.513 | 96.62% | 93.98% | 548.5236 | 400 | 1249 | 5153.3 | 2102 | 0 | 155 | 843 | 261 | 10711.8236 | 867.2157 | 0 | 5.5721 | 592.0472 | 872.7697 | 2337.6047 | 52.0769
2033 | 1068.2695 | 881.7192 | 9939.6826 | 23845.3327 | 7656.0109 | 0 | 8.741 | 1444.6236 | 1222.3326 | 46066.7122 | 96.76% | 94.19% | 609.7429 | 500 | 1249 | 5153.3 | 2323.8 | 0 | 155 | 1043 | 261 | 11294.8429 | 887.7207 | 0 | 6.6296 | 582.8823 | 870.364 | 2347.5966 | 50.9608
2034 | 1181.6808 | 1402.144 | 9938.9193 | 23784.2065 | 8428.4495 | 0 | 4.3521 | 1524.4334 | 1222.2455 | 47486.4313 | 96.7% | 94.21% | 674.4754 | 950 | 1249 | 5153.3 | 2507.8 | 0 | 155 | 1043 | 261 | 11993.5754 | 887.7129 | 0 | 3.3009 | 615.9256 | 870.3044 | 2377.2438 | 50.0615
2035 | 1298.4393 | 1734.4875 | 9937.2838 | 23752.8558 | 9337.0273 | 0 | 5.8868 | 1631.7777 | 1221.9547 | 48919.713 | 96.57% | 94.15% | 741.1183 | 950 | 1249 | 5153.3 | 2938.8 | 0 | 155 | 1043 | 261 | 12491.2183 | 887.7152 | 0 | 4.4649 | 662.0748 | 870.0391 | 2424.294 | 49.5566
Wholesale prices
wholesale price ($/MWh) variation given as percentiles
year | 5% | 25% | 50% | 75% | 95%
2021 | 85.55 | 106.44 | 123.84 | 147.14 | 169.486
2022 | 58.646 | 79.22 | 90.75 | 106.1 | 132.822
2023 | 55.23 | 76.01 | 90.96 | 108.83 | 136.382
2024 | 28.852 | 51.61 | 70.15 | 89.74 | 116.034
2025 | 18.188 | 25.68 | 34.77 | 46.86 | 74.924
2026 | 22.454 | 32.81 | 42.08 | 53.08 | 84.222
2027 | 27.442 | 43.88 | 53.65 | 70.71 | 99.682
2028 | 33.994 | 54 | 65.36 | 83.1 | 118.576
2029 | 37.638 | 57.89 | 73.38 | 90.19 | 128.998
2030 | 35.096 | 57.17 | 72.59 | 89.83 | 129.704
2031 | 36.748 | 59.5 | 72.27 | 88.08 | 133.356
2032 | 36.73 | 60.54 | 74.3 | 92.06 | 133.838
2033 | 37.722 | 62.78 | 75.99 | 93.68 | 138.824
2034 | 39.524 | 63.3 | 79.26 | 94.93 | 134.91
2035 | 41.732 | 67.81 | 83.36 | 102.58 | 143.192
Project build
Date completed | Year | Project name | Gen type | Size (MW) | Capacity Factor Achieved | Average annual generation (GWh)
2021-05-01 01:41 | 2021 | Waipipi | Wind | 130 | 42.5% | 483.99
2021-05-01 09:07 | 2021 | Ngawha_Expansion2 | Geothermal | 25 | 92% | 201.48
2021-10-01 05:31 | 2021 | Turitea_Stage_1 | Wind | 119 | 43% | 448.2492
2023-02-01 08:53 | 2023 | Mt_Cass_Wind_Farm | Wind | 93 | 40.2% | 327.5014
2023-03-01 05:46 | 2023 | Turitea_Stage_2 | Wind | 103 | 43% | 387.9804
2023-07-01 07:26 | 2023 | Tauhara_Stage_2 | Geothermal | 150 | 97% | 1274.58
2023-12-01 02:38 | 2023 | Harapaki_Wind | Wind | 176 | 41.3% | 636.7469
2029-01-01 04:48 | 2029 | Puketoi_Stage_1 | Wind | 60 | 42% | 220.752
2029-02-01 03:22 | 2029 | Pouto_Stage1 | Wind | 100 | 41% | 359.16
2029-08-01 08:24 | 2029 | Kaimai_Wind_Farm | Wind | 100 | 40.5% | 354.78
2029-12-01 16:48 | 2029 | Solar_Project_NI_1 | Solar | 200 | 23% | 402.96
2030-02-01 01:55 | 2030 | Omamari_Wind | Wind | 72 | 39% | 245.9808
2030-03-01 03:36 | 2030 | Pouto_Stage2 | Wind | 100 | 41% | 359.16
2030-05-01 05:02 | 2030 | Puketoi_Stage_2 | Wind | 130 | 42% | 478.296
2031-03-01 17:02 | 2031 | Solar_Project_NI_2 | Solar | 200 | 22.5% | 394.2
2031-04-01 03:50 | 2031 | Pouto_Stage3 | Wind | 100 | 41% | 359.16
2031-11-01 05:17 | 2031 | Puketoi_Stage_3 | Wind | 130 | 42% | 478.296
2031-11-01 11:17 | 2031 | Ahipara_Wind_Farm | Wind | 100 | 39% | 341.64
2033-01-01 00:14 | 2033 | Awhitu_Wind_Farm | Wind | 18 | 38% | 59.9184
2033-02-01 07:41 | 2033 | Tauhara_Stage_2a | Geothermal | 80 | 97% | 679.776
2033-03-01 17:46 | 2033 | Solar_Project_NI_5 | Solar | 100 | 22% | 192.72
2033-04-01 04:19 | 2033 | Long_Gully_Wind_farm | Wind | 12.5 | 43.8% | 47.961
2033-09-01 02:24 | 2033 | Hurunui_Wind | Wind | 71.3 | 40.2% | 251.0844
2033-10-01 02:10 | 2033 | Central_Wind_Moawhango | Wind | 120 | 39.4% | 414.1728
2034-11-01 08:10 | 2034 | Hauauru_ma_raki_Wind_Stage_1 | Wind | 154 | 39.5% | 532.8708
2034-12-01 06:58 | 2034 | Huntly_Peaker | Gas_Peak | 200 | 10% | 175.2
2035-03-01 12:29 | 2035 | Genesis_Solar | Solar | 300 | 22.5% | 591.3
2035-04-01 10:48 | 2035 | Wainui_Hills_Wind_Farm | Wind | 30 | 41% | 107.748
2035-09-01 17:31 | 2035 | Solar_Project_NI_4 | Solar | 150 | 23% | 302.22
2035-11-01 09:50 | 2035 | Taharoa_C | Wind | 54 | 39.5% | 186.8508

## Sensitivity 1. Rising gas price
Name: | Sensitivity 1: Rising gas price
Results file: | IGEN_Model_3.9_CCC_Scenario3_Sens1_Step4_3h
Notes:
1. The 2021 model year is for the period of 1 April to 31 December
2. All prices are in real 2021 NZDs and are the time-weighted-average market price
3. Prices are given at the Haywards grid exit point
4. Emissions and generation values are given as the average (mean) across simulated hydrological years
5. Prices are given at percentile levels - this reflects the modelled variation in prices due to varying hydro inflows. For example, the 95th percentile line corresponds to the price that is exceeded in only 5% of model years
Generation and emissions
| Generation by type (GWh) | [9 empty] | Renewable % |  | Installed capacity (MW) | [9 empty] | Generation emissions (kt CO2e) | [5 empty] | Emission intensity of generation (gCO2/kWh)
| Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Excl cogen | Incl cogen | Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Geothermal | Coal | Diesel | Gas | Cogen | Total | Total (incl cogen)
2021 | 25.8668 | 0 | 6082.7202 | 16831.3184 | 2370.2469 | 1310.876 | 0.36358 | 3835.1155 | 922.1313 | 31378.6387 | 83.1% | 80.66% | 14.7642 | 0 | 1019 | 5153.3 | 942 | 730 | 155 | 1223 | 261 | 9498.0642 | 607.454 | 1127.2035 | 0.27575 | 1530.1132 | 653.2689 | 3918.3155 | 124.8721
2022 | 77.5861 | 0 | 7943.8824 | 24073.8079 | 3406.9982 | 502.6906 | 0.46411 | 4160.7169 | 1222.3328 | 41388.479 | 88.39% | 85.78% | 44.2843 | 0 | 1019 | 5153.3 | 1034 | 485 | 155 | 1223 | 261 | 9374.5843 | 785.463 | 432.2564 | 0.35201 | 1662.9509 | 870.3642 | 3751.3866 | 90.6384
2023 | 135.9919 | 0 | 8664.8527 | 23985.864 | 3570.3836 | 443.9439 | 0.62129 | 3659.3533 | 1222.2457 | 41683.2565 | 89.86% | 87.22% | 77.621 | 0 | 1169 | 5153.3 | 1210 | 485 | 155 | 1223 | 261 | 9733.921 | 825.9608 | 381.741 | 0.47121 | 1468.7664 | 870.3046 | 3547.244 | 85.1
2024 | 200.2462 | 0 | 9292.4361 | 24690.1613 | 3959.2619 | 172.3617 | 1.0915 | 2663.8243 | 1224.8859 | 42204.2689 | 93.08% | 90.37% | 114.2958 | 0 | 1169 | 5153.3 | 1210 | 485 | 155 | 843 | 261 | 9390.5958 | 857.5942 | 148.2114 | 0.82782 | 1052.9532 | 872.136 | 2931.7226 | 69.4651
2025 | 273.9625 | 0 | 9259.8018 | 23368.4987 | 3436.6838 | 0 | 2.2669 | 535.4899 | 1221.7146 | 38098.4184 | 98.54% | 95.38% | 156.3713 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 8947.6713 | 853.6499 | 0 | 1.7194 | 213.9417 | 869.9002 | 1939.2111 | 50.9
2026 | 354.9656 | 0 | 9259.9667 | 23496.0636 | 3657.2937 | 0 | 2.3032 | 755.2094 | 1222.2601 | 38748.0622 | 97.98% | 94.89% | 202.6059 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 8993.9059 | 853.6767 | 0 | 1.7469 | 301.1236 | 870.3437 | 2026.8908 | 52.3095
2027 | 442.5585 | 0 | 9259.8823 | 23673.5605 | 3831.952 | 0 | 2.4157 | 1064.5168 | 1222.2023 | 39497.0883 | 97.21% | 94.2% | 252.6019 | 0 | 1169 | 5153.3 | 1210 | 0 | 155 | 843 | 261 | 9043.9019 | 853.6554 | 0 | 1.8322 | 424.9179 | 870.2693 | 2150.6747 | 54.4515
2028 | 538.6615 | 0 | 9285.2278 | 23954.9757 | 4099.256 | 0 | 2.9825 | 1328.7105 | 1225.8448 | 40435.6587 | 96.6% | 93.68% | 307.4552 | 0 | 1169 | 5153.3 | 1270 | 0 | 155 | 843 | 261 | 9158.7552 | 855.9906 | 0 | 2.2621 | 532.0964 | 872.8957 | 2263.2448 | 55.9715
2029 | 634.4601 | 248.5234 | 9261.0892 | 23855.3483 | 4647.1813 | 0 | 4.0468 | 1391.9289 | 1221.9948 | 41264.5728 | 96.51% | 93.66% | 362.1348 | 200 | 1169 | 5153.3 | 1470 | 0 | 155 | 843 | 261 | 9613.4348 | 854.0533 | 0 | 3.0693 | 557.9423 | 870.0764 | 2285.1413 | 55.3778
2030 | 736.3716 | 365.3691 | 9266.3472 | 23801.4745 | 5739.9905 | 0 | 3.9845 | 1239.5494 | 1221.442 | 42374.5288 | 96.98% | 94.18% | 420.3034 | 200 | 1169 | 5153.3 | 1772 | 0 | 155 | 843 | 261 | 9973.6034 | 855.1827 | 0 | 3.0221 | 495.8123 | 869.6711 | 2223.6882 | 52.477
2031 | 843.4165 | 620.7929 | 9260.3727 | 23833.9763 | 6446.8331 | 0 | 5.2629 | 1294.4444 | 1221.7331 | 43526.8319 | 96.93% | 94.21% | 481.4021 | 400 | 1169 | 5153.3 | 2102 | 0 | 155 | 843 | 261 | 10564.7021 | 853.7369 | 0 | 3.9916 | 519.3534 | 869.9222 | 2247.0041 | 51.6234
2032 | 961.0134 | 867.1904 | 9627.6114 | 23837.3123 | 7102.8466 | 0 | 7.0069 | 1253.8613 | 1225.6664 | 44882.5087 | 97.11% | 94.46% | 548.5236 | 500 | 1249 | 5153.3 | 2102 | 0 | 155 | 843 | 261 | 10811.8236 | 872.9791 | 0 | 5.3144 | 502.694 | 872.7697 | 2253.7573 | 50.2146
2033 | 1068.2695 | 921.2644 | 9939.2315 | 23776.2532 | 7847.3504 | 0 | 9.2584 | 1267.7195 | 1222.3326 | 46051.6795 | 97.15% | 94.57% | 609.7429 | 500 | 1249 | 5153.3 | 2477.8 | 0 | 155 | 1043 | 261 | 11448.8429 | 887.676 | 0 | 7.0221 | 509.3798 | 870.364 | 2274.4419 | 49.3889
2034 | 1181.6808 | 1475.748 | 9938.8193 | 23776.5399 | 8485.1832 | 0 | 4.4678 | 1394.484 | 1222.2456 | 47479.1685 | 96.98% | 94.48% | 674.4754 | 950 | 1249 | 5153.3 | 2507.8 | 0 | 155 | 1043 | 261 | 11993.5754 | 887.7015 | 0 | 3.3886 | 561.561 | 870.3044 | 2322.9556 | 48.9258
2035 | 1298.4393 | 1731.7511 | 9936.5512 | 23727.2627 | 9575.6551 | 0 | 6.3531 | 1431.3149 | 1221.9546 | 48929.282 | 96.99% | 94.56% | 741.1183 | 950 | 1249 | 5153.3 | 2938.8 | 0 | 155 | 1043 | 261 | 12491.2183 | 887.6419 | 0 | 4.8185 | 578.3798 | 870.0389 | 2340.8791 | 47.8421
Wholesale prices
wholesale price ($/MWh) variation given as percentiles
year | 5% | 25% | 50% | 75% | 95%
2021 | 86.9115 | 108.05 | 126.065 | 149.0475 | 171.081
2022 | 60.3975 | 81.2625 | 92.52 | 108.49 | 134.9505
2023 | 57.835 | 78.315 | 93.19 | 111.635 | 140.4365
2024 | 30.3215 | 53.545 | 72.895 | 93.1025 | 120.075
2025 | 18.533 | 26.995 | 36.165 | 48.62 | 79.661
2026 | 23.0675 | 34.505 | 45.18 | 57.795 | 90.0655
2027 | 28.818 | 46.52 | 57.48 | 75.435 | 107.47
2028 | 34.261 | 54.9325 | 67.86 | 86.675 | 124.276
2029 | 35.3645 | 57.935 | 72.48 | 92.055 | 133.556
2030 | 33.807 | 57.3425 | 72.295 | 88.9275 | 132.0945
2031 | 37.25 | 60.1675 | 73.72 | 91.775 | 140.9985
2032 | 36.488 | 60.25 | 74.44 | 93.9025 | 138.805
2033 | 37.8735 | 62.605 | 76.66 | 95.795 | 144.541
2034 | 40.3735 | 65.375 | 81.94 | 100.07 | 144.282
2035 | 41.3845 | 68.8725 | 85.13 | 106.1175 | 151.4195
Project build
Date completed | Year | Project name | Gen type | Size (MW) | Capacity Factor Achieved | Average annual generation (GWh)
2021-05-01 01:41 | 2021 | Waipipi | Wind | 130 | 42.5% | 483.99
2021-05-01 10:05 | 2021 | Ngawha_Expansion2 | Geothermal | 25 | 92% | 201.48
2021-10-01 05:31 | 2021 | Turitea_Stage_1 | Wind | 119 | 43% | 448.2492
2023-02-01 09:50 | 2023 | Mt_Cass_Wind_Farm | Wind | 93 | 40.2% | 327.5014
2023-03-01 05:46 | 2023 | Turitea_Stage_2 | Wind | 103 | 43% | 387.9804
2023-07-01 07:55 | 2023 | Tauhara_Stage_2 | Geothermal | 150 | 97% | 1274.58
2023-12-01 02:38 | 2023 | Harapaki_Wind | Wind | 176 | 41.3% | 636.7469
2027-11-01 04:48 | 2027 | Puketoi_Stage_1 | Wind | 60 | 42% | 220.752
2028-01-01 03:22 | 2028 | Pouto_Stage1 | Wind | 100 | 41% | 359.16
2028-08-01 08:53 | 2028 | Kaimai_Wind_Farm | Wind | 100 | 40.5% | 354.78
2028-09-01 18:14 | 2028 | Solar_Project_NI_1 | Solar | 200 | 23% | 402.96
2028-11-01 01:55 | 2028 | Omamari_Wind | Wind | 72 | 39% | 245.9808
2029-02-01 03:36 | 2029 | Pouto_Stage2 | Wind | 100 | 41% | 359.16
2029-03-01 05:02 | 2029 | Puketoi_Stage_2 | Wind | 130 | 42% | 478.296
2030-03-01 03:50 | 2030 | Pouto_Stage3 | Wind | 100 | 41% | 359.16
2030-05-01 08:10 | 2030 | Tauhara_Stage_2a | Geothermal | 80 | 97% | 679.776
2030-09-01 12:29 | 2030 | Ahipara_Wind_Farm | Wind | 100 | 39% | 341.64
2030-09-01 18:29 | 2030 | Solar_Project_NI_2 | Solar | 200 | 22.5% | 394.2
2031-02-01 05:17 | 2031 | Puketoi_Stage_3 | Wind | 130 | 42% | 478.296
2031-08-01 00:14 | 2031 | Awhitu_Wind_Farm | Wind | 18 | 38% | 59.9184
2031-09-01 04:19 | 2031 | Long_Gully_Wind_farm | Wind | 12.5 | 43.8% | 47.961
2032-03-01 19:12 | 2032 | Solar_Project_NI_5 | Solar | 100 | 22% | 192.72
2032-04-01 02:10 | 2032 | Central_Wind_Moawhango | Wind | 120 | 39.4% | 414.1728
2032-09-01 02:24 | 2032 | Hurunui_Wind | Wind | 71.3 | 40.2% | 251.0844
2033-03-01 08:38 | 2033 | Hauauru_ma_raki_Wind_Stage_1 | Wind | 154 | 39.5% | 532.8708
2034-06-01 11:46 | 2034 | Wainui_Hills_Wind_Farm | Wind | 30 | 41% | 107.748
2034-06-01 13:41 | 2034 | Genesis_Solar | Solar | 300 | 22.5% | 591.3
2034-07-01 10:48 | 2034 | Taharoa_C | Wind | 54 | 39.5% | 186.8508
2034-07-01 14:24 | 2034 | Wind_Project_NI_1 | Wind | 200 | 40.45% | 708.684
2034-08-01 07:12 | 2034 | Huntly_Peaker | Gas_Peak | 200 | 10% | 175.2
2035-03-01 18:58 | 2035 | Solar_Project_NI_4 | Solar | 150 | 23% | 302.22
2035-07-01 08:24 | 2035 | Waitahora_Wind | Wind | 177 | 39.7% | 615.5564
2035-10-01 19:55 | 2035 | Solar_Project_SI_2 | Solar | 100 | 21% | 183.96

## Sensitivity 2. Tiwai stays
Name | Sensitivity 2: Tiwai stays
Results file: | IGEN_Model_3.9_CCC_Scenario4_Step8a
Notes:
1. The 2021 model year is for the period of 1 April to 31 December
2. All prices are in real 2021 NZDs and are the time-weighted-average market price
3. Prices are given at the Haywards grid exit point
4. Emissions and generation values are given as the average (mean) across simulated hydrological years
5. Prices are given at percentile levels - this reflects the modelled variation in prices due to varying hydro inflows. For example, the 95th percentile line corresponds to the price that is exceeded in only 5% of model years
Generation and emissions
| Generation by type (GWh) | [9 empty] | Renewable % |  | Installed capacity (MW) | [9 empty] | Generation emissions (kt CO2e) | [5 empty] | Emission intensity of generation (gCO2/kWh)
| Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Excl cogen | Incl cogen | Home solar | Utility solar | Geothermal | Hydro | Wind | Coal | Diesel | Gas | Cogeneration | Total | Geothermal | Coal | Diesel | Gas | Cogen | Total | Total (incl cogen)
2021 | 25.8668 | 0 | 6082.7202 | 16752.941 | 2355.065 | 1245.2523 | 0.36697 | 3759.6461 | 922.1313 | 31143.9896 | 83.44% | 80.97% | 14.7642 | 0 | 1019 | 5153.3 | 942 | 730 | 155 | 1223 | 261 | 9498.0642 | 607.454 | 1070.7747 | 0.27833 | 1495.2733 | 653.2689 | 3827.0492 | 122.8824
2022 | 77.5861 | 0 | 7943.8824 | 24098.0155 | 3403.918 | 403.9805 | 0.4607 | 4246.8835 | 1222.3328 | 41397.0595 | 88.42% | 85.81% | 44.2843 | 0 | 1019 | 5153.3 | 1034 | 485 | 155 | 1223 | 261 | 9374.5843 | 785.463 | 347.3771 | 0.34942 | 1689.3164 | 870.3642 | 3692.8701 | 89.2061
2023 | 135.9919 | 0 | 8664.8526 | 23822.6321 | 3562.5773 | 432.7034 | 0.54902 | 3840.8578 | 1222.2457 | 41682.4099 | 89.44% | 86.81% | 77.621 | 0 | 1169 | 5153.3 | 1210 | 485 | 155 | 1223 | 261 | 9733.921 | 855.26 | 372.0755 | 0.4164 | 1544.6463 | 870.3046 | 3642.7028 | 87.3918
2024 | 200.2462 | 0 | 9292.4317 | 23864.4106 | 4336.8748 | 276.8771 | 0.55821 | 2977.5893 | 1224.886 | 42173.8739 | 92.05% | 89.38% | 114.2958 | 0 | 1169 | 5153.3 | 1341.3 | 485 | 155 | 843 | 261 | 9521.8958 | 915.8736 | 238.0826 | 0.42337 | 1194.8395 | 872.1361 | 3221.3552 | 76.3827
2025 | 273.9625 | 0 | 9260.642 | 24290.6783 | 5006.6083 | 259.9296 | 1.3584 | 2288.9122 | 1221.7313 | 42603.8226 | 93.84% | 91.15% | 156.3713 | 0 | 1169 | 5153.3 | 1583.8 | 485 | 155 | 843 | 261 | 9806.4713 | 911.8905 | 223.5097 | 1.0303 | 935.0038 | 869.9201 | 2941.3543 | 69.0397
2026 | 354.9656 | 147.3027 | 9260.3303 | 24066.9702 | 5884.0459 | 177.0497 | 2.397 | 2126.6518 | 1222.2702 | 43241.9834 | 94.51% | 91.84% | 202.6059 | 200 | 1169 | 5153.3 | 1863.8 | 485 | 155 | 843 | 261 | 10332.7059 | 911.8487 | 152.2425 | 1.818 | 867.0956 | 870.3558 | 2803.3606 | 64.8296
2027 | 442.5585 | 365.9584 | 9259.9505 | 23928.3752 | 6835.2491 | 0 | 5.1833 | 1879.458 | 1222.2094 | 43938.9425 | 95.59% | 92.93% | 252.6019 | 200 | 1169 | 5153.3 | 2153.8 | 0 | 155 | 843 | 261 | 10187.7019 | 911.7862 | 0 | 3.9313 | 765.5692 | 870.2777 | 2551.5644 | 58.0707
2028 | 538.6615 | 516.9319 | 9285.0789 | 23950.3525 | 7561.5132 | 0 | 6.8164 | 1776.9065 | 1225.8432 | 44862.1042 | 95.91% | 93.29% | 307.4552 | 400 | 1169 | 5153.3 | 2253.8 | 0 | 155 | 843 | 261 | 10542.5552 | 914.2537 | 0 | 5.1699 | 723.1984 | 872.8939 | 2515.5158 | 56.0722
2029 | 634.4601 | 738.1852 | 9260.5109 | 23935.7908 | 8179.4259 | 0 | 8.9548 | 1779.0732 | 1221.9898 | 45758.3908 | 95.99% | 93.42% | 362.1348 | 400 | 1169 | 5153.3 | 2507.8 | 0 | 155 | 1043 | 261 | 11051.2348 | 912.1054 | 0 | 6.7918 | 724.9469 | 870.0705 | 2513.9145 | 54.9389
2030 | 736.3716 | 858.6413 | 9265.8814 | 23968.1447 | 8963.4413 | 0 | 5.2369 | 1907.8834 | 1221.4379 | 46927.0385 | 95.81% | 93.32% | 420.3034 | 500 | 1169 | 5153.3 | 2703.8 | 0 | 155 | 1043 | 261 | 11405.4034 | 913.2468 | 0 | 3.9719 | 780.1163 | 869.6662 | 2567.0013 | 54.702
2031 | 843.4165 | 1028.1594 | 9259.1369 | 23911.5309 | 9965.3569 | 0 | 7.3338 | 1918.0837 | 1221.73 | 48154.748 | 95.9% | 93.46% | 481.4021 | 600 | 1169 | 5153.3 | 2987.8 | 0 | 155 | 1043 | 261 | 11850.5021 | 911.724 | 0 | 5.5623 | 784.3541 | 869.9185 | 2571.5589 | 53.402
2032 | 961.0134 | 1098.2093 | 9283.5325 | 23971.3143 | 11096.8768 | 0 | 7.8118 | 1933.3101 | 1225.6656 | 49577.7338 | 95.99% | 93.61% | 548.5236 | 600 | 1169 | 5153.3 | 3307.8 | 0 | 155 | 1043 | 261 | 12237.6236 | 913.9762 | 0 | 5.9248 | 790.3186 | 872.7688 | 2582.9884 | 52.0998
2033 | 1068.2695 | 1463.7596 | 9255.2242 | 23860.4398 | 11899.0805 | 0 | 10.454 | 1980.5527 | 1222.3311 | 50760.1114 | 95.98% | 93.67% | 609.7429 | 900 | 1169 | 5153.3 | 3538.8 | 0 | 155 | 1163 | 261 | 12949.8429 | 911.3679 | 0 | 7.9288 | 811.3741 | 870.3622 | 2601.0331 | 51.2417
2034 | 1181.6808 | 2047.251 | 9245.7684 | 23719.1447 | 12683.3889 | 0 | 10.0663 | 2048.524 | 1222.2447 | 52158.0689 | 95.96% | 93.71% | 674.4754 | 1250 | 1169 | 5153.3 | 3782.8 | 0 | 155 | 1163 | 261 | 13608.5754 | 910.5085 | 0 | 7.6348 | 843.7847 | 870.3034 | 2632.2314 | 50.4664
2035 | 1298.4393 | 2459.2014 | 9598.0884 | 23707.3375 | 13204.4519 | 0 | 9.5354 | 2140.2429 | 1221.9536 | 53639.2504 | 95.9% | 93.71% | 741.1183 | 1400 | 1229 | 5153.3 | 3907.8 | 0 | 155 | 1283 | 261 | 14130.2183 | 920.7251 | 0 | 7.2321 | 887.1173 | 870.0378 | 2685.1123 | 50.0587
Wholesale prices
wholesale price ($/MWh) variation given as percentiles
year | 5% | 25% | 50% | 75% | 95%
2021 | 88.0255 | 108.61 | 125.265 | 148.225 | 172.321
2022 | 58.1435 | 77.8025 | 89.155 | 102.2725 | 125.588
2023 | 57.739 | 77.385 | 92.99 | 108.55 | 137.323
2024 | 42.9845 | 62.1675 | 80.445 | 97.9275 | 127.5985
2025 | 53.0705 | 73.1775 | 87.64 | 104.515 | 131.6645
2026 | 49.54 | 69.8575 | 84.625 | 103.34 | 132.082
2027 | 42.6215 | 66.93 | 82.06 | 100.9675 | 142.9155
2028 | 43.567 | 65.985 | 83.4 | 100.01 | 146.4995
2029 | 43.793 | 68.2375 | 87.1 | 105.45 | 153.895
2030 | 47.1405 | 70.6375 | 86.885 | 105.0475 | 140.355
2031 | 49.1045 | 71.7425 | 89.88 | 108.5175 | 146.611
2032 | 49.1735 | 73.995 | 91.685 | 113.0175 | 150.3605
2033 | 54.484 | 77.8825 | 95.495 | 115.7525 | 157.3355
2034 | 56.611 | 81.2725 | 98.995 | 117.7925 | 154.5205
2035 | 58.6815 | 83.1375 | 101.505 | 121.9225 | 161.318
Project build
Date completed | Year | Project name | Gen type | Size (MW) | Capacity Factor Achieved | Average annual generation (GWh)
2021-05-01 01:41 | 2021 | Waipipi | Wind | 130 | 42.5% | 483.99
2021-05-01 10:48 | 2021 | Ngawha_Expansion2 | Geothermal | 25 | 92% | 201.48
2021-10-01 06:00 | 2021 | Turitea_Stage_1 | Wind | 119 | 43% | 448.2492
2023-02-01 10:34 | 2023 | Mt_Cass_Wind_Farm | Wind | 93 | 40.2% | 327.5014
2023-03-01 06:14 | 2023 | Turitea_Stage_2 | Wind | 103 | 43% | 387.9804
2023-07-01 08:38 | 2023 | Tauhara_Stage_2 | Geothermal | 150 | 97% | 1274.58
2023-12-01 02:38 | 2023 | Harapaki_Wind | Wind | 176 | 41.3% | 636.7469
2024-02-01 05:17 | 2024 | Puketoi_Stage_1 | Wind | 60 | 42% | 220.752
2024-08-01 02:24 | 2024 | Hurunui_Wind | Wind | 71.3 | 40.2% | 251.0844
2025-05-01 09:36 | 2025 | Kaimai_Wind_Farm | Wind | 100 | 40.5% | 354.78
2025-06-01 05:31 | 2025 | Puketoi_Stage_2 | Wind | 130 | 42% | 478.296
2025-10-01 04:48 | 2025 | Long_Gully_Wind_farm | Wind | 12.5 | 43.8% | 47.961
2026-01-01 02:10 | 2026 | Central_Wind_Moawhango | Wind | 120 | 39.4% | 414.1728
2026-07-01 12:43 | 2026 | Wainui_Hills_Wind_Farm | Wind | 30 | 41% | 107.748
2026-09-01 19:12 | 2026 | Solar_Project_NI_1 | Solar | 200 | 23% | 402.96
2026-10-01 05:46 | 2026 | Puketoi_Stage_3 | Wind | 130 | 42% | 478.296
2027-05-01 00:14 | 2027 | Awhitu_Wind_Farm | Wind | 18 | 38% | 59.9184
2027-05-01 01:55 | 2027 | Omamari_Wind | Wind | 72 | 39% | 245.9808
2027-06-01 03:36 | 2027 | Pouto_Stage1 | Wind | 100 | 41% | 359.16
2027-12-01 13:26 | 2027 | Ahipara_Wind_Farm | Wind | 100 | 39% | 341.64
2028-07-01 03:50 | 2028 | Pouto_Stage2 | Wind | 100 | 41% | 359.16
2028-09-01 19:26 | 2028 | Solar_Project_NI_2 | Solar | 200 | 22.5% | 394.2
2029-04-01 09:22 | 2029 | Hauauru_ma_raki_Wind_Stage_1 | Wind | 154 | 39.5% | 532.8708
2029-08-01 04:05 | 2029 | Pouto_Stage3 | Wind | 100 | 41% | 359.16
2029-10-01 07:41 | 2029 | Huntly_Peaker | Gas_Peak | 200 | 10% | 175.2
2031-03-01 00:29 | 2031 | Kaiwera_Downs_Stage_1 | Wind | 36 | 40% | 126.144
2031-06-01 20:10 | 2031 | Solar_Project_NI_5 | Solar | 100 | 22% | 192.72
2031-07-01 21:22 | 2031 | Wind_Project_NI_9 | Wind | 200 | 40% | 700.8
2031-08-01 03:07 | 2031 | Mt_Munro | Wind | 60 | 41% | 215.496
2031-08-01 07:55 | 2031 | Slopedown_Wind_farm | Wind | 100 | 40.4% | 353.904
2032-01-01 17:17 | 2032 | Wind_Project_SI_1 | Wind | 200 | 40.4% | 707.808
2032-02-01 00:43 | 2032 | Kaiwera_Downs_Stage_2 | Wind | 84 | 40% | 294.336
2032-03-01 20:53 | 2032 | Solar_Project_SI_2 | Solar | 100 | 21% | 183.96
2033-05-01 09:07 | 2033 | Waitahora_Wind | Wind | 177 | 39.7% | 615.5564
2033-05-01 11:46 | 2033 | Taharoa_C | Wind | 54 | 39.5% | 186.8508
2033-10-01 00:58 | 2033 | Kaiwera_Downs_Stage_3 | Wind | 120 | 40% | 420.48
2034-01-01 13:41 | 2034 | Otorohanga_Peaker_Stage1 | Gas_Peak | 120 | 10% | 105.12
2034-03-01 14:38 | 2034 | Genesis_Solar | Solar | 300 | 22.5% | 591.3
2034-06-01 19:55 | 2034 | Solar_Project_NI_4 | Solar | 150 | 23% | 302.22
2034-07-01 15:22 | 2034 | Wind_Project_NI_1 | Wind | 200 | 40.45% | 708.684
2034-10-01 20:38 | 2034 | Solar_Project_SI_1 | Solar | 200 | 21% | 367.92
2034-11-01 17:02 | 2034 | Wind_Project_NI_8 | Wind | 125 | 40.5% | 443.475
2035-02-01 12:00 | 2035 | Taumatatotara | Wind | 44 | 38% | 146.4672
2035-04-01 13:55 | 2035 | Otorohanga_Peaker_Stage2 | Gas_Peak | 120 | 10% | 105.12
2035-12-01 19:41 | 2035 | Solar_Project_NI_3 | Solar | 150 | 22% | 289.08